Condition 18: Noise Impact Assessment (Agreed Amendment)

Any reserved matters application for a phase including buildings and/or associated plant/equipment, or any external space(s) to be used for outdoor events and noise generating activities, shall be accompanied by a noise assessment.  In relation to buildings and/or plant, the assessment shall a include a scheme for the insulation/mitigation of the building(s) and/or associated plant/equipment in accordance with British Standard 4142: 2014 + A1: 2019. Plant noise shall be assessed at the nearest noise-sensitive residences.

In addition, where relevant to a phase, a Noise Management Plan shall be submitted to demonstrate how noise from outdoor events and noise generating activities within the external space(s) in that phase will be managed and controlled to minimise disturbance to nearby residential properties.

The approved scheme of noise insulation/mitigation in connection with building plant/equipment shall be implemented before the relevant building is occupied and shall be retained thereafter in accordance with the approved scheme details. Each approved Noise Management Plan shall be implemented before first use of the relevant external space(s) for events and noise generating activities relating to the appropriate phase and retained thereafter for the lifetime of the development.